Skyline PRM With an Orbitrap Mass Spec

In this tutorial you will set up an acquisition method to quantify 31 peptides from 19 proteins of interest in murine fibroblasts using Parallel Reaction Monitoring (PRM). Briefly, the “Cell cycle mouse fibroblast” dataset used in this tutorial consists of murine fibroblasts in three different stages of the cell cycle: i) G1 phase, ii) S phase, and iii) G2 plus Mitosis phases. Each condition has three biological replicates. The entire dataset consists of 9 runs on a Thermo Fusion mass spectrometer employing the Orbitrap mass analyzer.

For more general information on how Skyline treats PRM data of any kind, you should consult the [Parallel Reaction Monitoring](https://skyline.ms/tutorial_prm.url) tutorial.

# Getting Started

To start this tutorial, download the following ZIP file:

<https://skyline.ms/tutorials/PRM-Orbi.zip>

Extract the files in it to a folder on your computer, like:

C:\Users\brendanx\Documents

This will create a new folder:

C:\Users\brendanx\Documents\PRM-Orbi

To begin this tutorial:

* Start Skyline.
* If you have previously unchecked **Show start page at startup**,  
  On the **File** menu, click **Start**.
* On the **Start Page,** click **Import Peptide List** which looks like this:

Graphical user interface, text, application

Description automatically generated

* If you do not see this option,  
  Click the user interface button in the upper right-hand corner of the **Start Page** and select **Proteomics Interface** which looks like this:

Graphical user interface, text, application

Description automatically generated

Once you have clicked **Import Peptide List**, Skyline should appear and show a **Settings** form:

* In the **Experiment Type** box, click **Quantifications**.

Graphical user interface, text, application, email

Description automatically generated

For a consistent and reliable set of steps through this tutorial, it is simplest to start from default settings. Otherwise, Skyline will attempt to start from your most recent settings in the hope that they may resemble what you will do next. To achieve a uniform starting point for this tutorial:

* Click the **Reset Default Settings** button.
* Click the **OK** button on the message Skyline shows confirming this operation.

# Settings for PRM methods

It is often a good idea to do a complete review of all the **Peptide Settings** and **Transition Settings** when starting new blank document like this, before adding any of the proteins and peptides you will target.

* Click the **Peptide Settings** button.
* Click the **Digestion** tab if it is not already showing.

## Peptide Settings – Digestion tab

**Enzyme**: Select the proteolytic specificity of the enzyme that was used with your samples. The most frequent enzyme used in proteomics is trypsin, which cleaves after the C-terminal of lysine and arginine except if they are followed by proline. In this tutorial you may leave “Trypsin [KR|P]” selected.

**Max missed cleavages**: Set the number of missed cleavages that you would like to consider in your analysis. Fully tryptic peptides are preferable, but sometimes peptides with missed cleavages are also usable for quantification.

* In the **Max missed cleavages** field enter “1”.

**Background proteome**: This setting allows you to build a background proteome from a protein FASTA file using the digestion settings defined above. Alternatively, you can directly add an already in-silico digested proteome file (file.protdb). The background proteome is useful to determine if a particular peptide is unique to your protein or if it is shared with other proteins present in your database. To generate a background proteome according to the digestion settings above do the following:

* From the **Background proteome** drop-list, choose **<Add…>**.
* Click the **Create** button in the **Edit Background Proteome** form.
* Navigate to the “PRM-Orbi” folder you created for this tutorial.
* In the **File name** field, enter “mouse-proteome”.
* Click the **Save** button.
* Click the **Add File** button.
* Double-click the “uniprot-mouse.fasta” file.

When the file is generated a warning message will appear to warn you about 6 repeated sequences in the FASTA file:

Text

Description automatically generated with medium confidence

* Click the **OK** button.

The generated proteome file should contain 16,800 proteins.

* Click the **OK** button.

The background proteome file you just created can now be used in different projects.

**Enforce peptide uniqueness by**: offers the options –

1. “None” - do not enforce peptide uniqueness.
2. “Protein” - do not use peptides which appear in multiple proteins in the background proteome.
3. “Gene” - do not use peptides which appear in multiple genes in the background proteome.
4. “Species” - do not use peptides associated with multiple species in the background proteome.

* In the **Enforce peptide uniqueness by** dropdown list, click “Protein”.

The **Digestion** tab should look like this:

Graphical user interface, text, application

Description automatically generated

* Click the **Prediction** tab.

## Peptide Settings – Prediction tab

**Retention time predictor**: A retention time predictor can be used to create scheduled methods and to support data analysis. This tutorial does not require retention time prediction. So, leave is as “None”.

**Use measured retention times when present**: Checking this option allows Skyline to use use measured retention times (instead of predicted) for retention time scheduling.

* Check **Use measured retention times when present**.

**Time window**: Specify the range of time you would like to use for your scheduled measurements.

* For this tutorial, in the **Time window** field, enter “5” **min**.

The **Prediction** tab should look like this:

Graphical user interface, application

Description automatically generated

* Click the **Filter** tab.

## Peptide Settings – Filter tab

In this tab you can define filters to select peptides with certain properties.

**Min length/Max length**: You can use these fields to restrict the number of amino acid residues you are willing to allow in your target peptides.

* In the **Min length** field enter “7 “, and in the **Max length** field enter “26”.

**Exclude N-terminal amino acids**: The N-terminus of a protein might be post-translationally processed (modified and/or cleaved). Therefore, it may not be suited for protein quantification. You can use this field to exclude these peptides from analysis. In this tutorial, you will simply trust the peptide spectrum matching results from a DDA experiment and not rely on this exclusion.

* In the **Exclude N-terminal amino acids** field, enter “0”.

**Exclude potential ragged ends**: Ragged ends are peptides with KK, RR, RK or KR sequences at one or both ends. Such peptides might not be fully cleaved and hence may not be suited for quantification. However, if no alternative peptides are available one might rather quantify with a ragged end peptide then not at all. In this tutorial, you can leave this option unchecked.

**Exclude peptides containing**: This option allows you to discard a priori peptides that, based on sequence would undergo secondary reactions. The residues “Cys, Met, His” are prone to modifications, such as oxidation. The option “NXT/NXS” is a glycosylation motif. The option “RP/KP” describes Lysine or Arginine followed by Proline which sometimes can be cleaved by trypsin. In this tutorial, you will not use any of these options.

**Auto-select all matching peptides**: When this option is activated peptides for target proteins are automatically selected from a spectral library or from a background proteome file. If unchecked, you would need to make these choices manually. In this tutorial, you should leave this option checked.

The **Filter** tab should look like this:

Graphical user interface, application

Description automatically generated

* Click the **Library** tab.

## Peptide Settings – Library tab

In this tab you can insert or build spectral libraries containing MS2 spectra. Spectral libraries can be downloaded from public sources or built within Skyline from your own data. Multiple libraries can be selected at the same time. Be aware that the order in the list matters: the higher up in the list, the higher the priority in case there is an MS2 spectrum for the same peptide in more than one library.

In this tutorial, you will build a library from data obtained from a set of synthetic isotopically labelled peptides that were bought to match each endogenous peptide of interest that will be monitored in the samples. These heavy peptides were analyzed in an LTQ Orbitrap Velos using a CID method. To build the library you need the search engine output file and the raw data. In our case the search engine output file is in pep.xml format and the raw data in the standard mzXML format.

* Click the button **Build**.
* In the **Name** field enter “heavy”.
* Click the **Browse** button to specify the output path where your library should be saved.
* Place it in the “PRM-Orbi/Heavy Library” folder.
* Do not check the **Keep redundant library** option, as you want only the single best spectrum for every peptide.
* In the **Cut-off score** field enter “0.9” (for a PeptideProphet posterior error probability) which in this case should give you below a 1% false discovery rate.
* Do not check **Include ambiguous matches** to avoid using multiple peptide assignments for a single spectrum if the search software supports that type of assignment.
* Leave the dropdown list **iRT standard peptides** blank as you are not going to use any iRT peptides in this tutorial.
* Click the **Next** button.
* Click the **Add Files** button to choose the “heavy-01.pep.xml” and “heavy-02.pep.xml” files, located in the PRM-Orbi/Heavy Library folder and click **Open**.
* Click the **Finish** button.

You will use a second library with shotgun data from the same samples that you will analyse using PRM. These data were acquired in an Orbitrap Fusion Lumos using an HCD method. As the generation of this library takes longer than the previous one, you will upload an already generated library file. In the **Library** tab do the following to add the second library:

* Click the **Edit List** button.
* Click the **Add** button in the **Edit Libraries** form.
* In the **Name** field enter “shotgun”.
* Click the **Browse** button.
* Navigate to the path “PRM-Orbi/Shotgun Library” and select the “shotgun.blib” file.
* Click the **Open** button.
* Uncheck **Use explicit peak bounds**. (though there are none in this library)
* Click the **OK** button.
* Click the Up button to promote the “shotgun” library to being first in the **Edit Libraries** form.
* Click the **OK** button.
* Check the checkboxes beside both libraries in the **Library** tab.

**Tip!** You can visualize and browse all peptides of your library in the Spectral Library Explorer under   
**View** → **Spectral Libraries**.

**Tip!** Skyline supports building libraries from many peptide spectrum matching pipeline outputs. The list of supported files can be found online: <https://skyline.ms/build-blib.url>

**Tip!** In case you have more than one library, once you have a list of peptides uploaded, if both libraries contain an MS2 spectrum, at the top of the MS/MS spectrum tab you can select from the drop-down menu, which library spectrum you would like to see plotted.

Once the libraries are built, uploaded and activated, you can continue reviewing the other parameters in the **Library** tab:

**Pick peptide matching**: Select if peptides should be automatically selected according to the filter settings (defined in the **Filter** tab) before or according to the library settings defined below. In this tutorial you will use all pre-selected targeted peptides that appear in the library. You can leave the default setting (“Library”).

**Rank peptides by**: Here you can define a ranking of all peptides available for a given protein in the library based on peak intensities, number of spectra for a given peptide, or score for spectrum quality. In this tutorial you should leave this option inactive.

**Limit peptides per protein**: Limits the number of automatically selected peptides per protein from the library. In this tutorial you may leave this option blank.

The **Library** tab should look like this:

Graphical user interface, application

Description automatically generated

* Click the **Modifications** tab.

## Peptide Settings – Modifications tab

**Structural modifications**: Structural modifications concern chemical modifications of peptides. They can either be static (always present) or variable (sometimes present, sometimes not). By default “Carbamidomethyl (C)” is checked, which comes from the reduction and alkylation step during sample preparation to avoid formation of disulphide bonds between cysteine residues. Keep this modification.

**Max variable mods** and **Max neutral losses**: Select the maximal number of variable modifications and neutral losses according to your project. Leave the default setting (3 variable modifications and 1 neutral loss).

**Isotope label type**: Here you can define the isotope label type you plan to work with. For this tutorial leave the default “heavy” as the label type.

**Isotope modifications**: Here you can define the chemical composition of your isotopic modifications. To select the isotopic modifications:

* Click the **Edit List** button and then the **Add** button.
* From the **Name** dropdown list, select the following isotopic modifications for this case study (one-by-one) and click the **OK** button.
* Click the **OK** button in the **Edit Modifications** button.
* Check the checkboxes for the newly added modifications  
  “Label:13C(6)15N(2) (C-term K)” and “Label:13C(6)15N(4) (C-term R)”

**Internal standard type**: Define which labelling state should be your internal standard. In this tutorial, you will use spiked-in heavy reference peptides. So, you can keep the default setting “heavy”.

The **Modifications** tab should look like this:

Graphical user interface, application

Description automatically generated

**Tip!** This tab might be slightly different in your case (you might have fewer or more modifications than the displayed in the screenshot if you have used Skyline before). You just need to make sure you select the indicated modifications.

* Click the **Quantification** tab.

## Peptide Settings – Quantification tab

**Regression fit**: This option calculates a regression fit from consecutive standard dilutions to produce a calibration curve for peptide quantitation. Options for the regression fit can be i) none, ii) linear, iii) linear through zero, iv) bilinear, v) quadratic, and vi) linear in log space. Leave the default setting “None”.

**Normalization Method:** It allows the use of an internal heavy standard for intensity normalization.

* Choose “Ratio to Heavy”.

**Regression Weighting:** It sets the regression weighting factor which can be i) none, ii) 1/x, or iii) 1/(x\*x). Leave the default setting “None”.

**MS Level:** It determines whether peptide quantitation is performed at the MS1 or MS2 level.

* Choose “2”.

**Units:** In this box you can include the concentration or amount units of your standards.

* Enter “fmol”.

The **Quantitation** tab provides settings to facilitate the peptide quantitation by PRM, SRM, DIA, or MS1 acquisition methods using calibration curves which can be single point (internal or external) or multiple point (external) calibration curves with a regression fit.

Later in this tutorial you will perform a single point internal calibration using a heavy-labeled internal standard by simply spiking a known amount of heavy labeled peptide into a sample to quantify endogenous proteins.

The **Quantification** tab should look like this:

Graphical user interface

Description automatically generated

* Click the **OK** button to confirm all the peptide settings.
* Click the **Transition Settings** button.
* Click the **Prediction** tab if it is not already showing.

## Transition Settings – Prediction tab

**Precursor mass** and **Product ion mass**: Here you define the basic MS parameters of your data. For both, precursor and product ion mass, this tutorial will use the default monoisotopic mass.

**Collision energy:** In ourPRM experiment we do not use this option as the collision energy is calculated by the instrument. Use the default “None”.

**Declustering potential:** Define the declustering potential that should be applied to your sample when it is injected into the mass spectrometer. Use the default “None”.

**Optimization Library**: Skyline can store the results of a collision energy optimization experiment into a library and therefore, use the optimized values in future experiments. Use the default “None”.

**Use optimization values when present**: If you have carried out a collision energy optimisation experiment within Skyline, you can directly apply the optimised values. Use the default “None”.

The **Prediction** tab should look like this:

Graphical user interface, application

Description automatically generated

* Click the **Filter** tab.

## Transition Settings – Filter tab

**Precursor charges:**Define which precursor charge states you would like to consider for your PRM measurements.

* Enter “2, 3” to include doubly and triply charged precursor ions.

**Product ion charges:**Define which product ion charge states you would like to consider for your SRM measurements.

* Enter “1, 2” to include singly and doubly charged product ions.

**Ion types:** Define which product ion types you would like to consider for your PRM measurement (you can define a, b, c, x, y, z and p ions, p stands for precursor).

* Enter “y, b” to include y- and b- fragment ions.

**Product ion selection:**In this region, you can define a filter to automatically select transitions for all peptides in your Skyline document. For example, to filter for the whole y-ion series, ranging from the first to the last y-ion of a peptide, enter: **From:** “ion 1” and **To:** “last ion”. The MacCoss lab frequently used “ion 3” to exclude y1, y2, b1, and b2.

* Choose **From:**“ion 1” **To:**“last ion” to use the entire ion series for this tutorial.

**Special ions:** With thisoption, you can select other types of ions than the standard y or b like immonium ions or iTRAQ/TMT reporter ions. Further criteria to automatically include typically very intense transitions, such as N-terminal to Pro or C-terminal to Glu or Asp, can be selected or custom defined.

* Uncheck the default option “N-terminal to Proline” to select transitions based on a library spectrum only.

**Precursor *m/z* exclusion window:**Here you can exclude a certain mass window around the precursor *m/z* value for transition selection. In this *m/z* range transitions are typically very noisy and therefore not suited for identification and quantification. Or, if you are using resonance excitation CID there may be no signal at all in this range.

* Set the precursor exclusion window to “5” *m/z* (which is ± 2.5 *m/z* around the precursor).

**Auto-select all matching transitions:** Needs to be checked if transitions should be automatically selected for all peptides based either on the filter settings or the library. The default is checked.

The **Filter** tab should look like this:

Graphical user interface, application

Description automatically generated

* Click the **Library** tab.

## Transition Settings – Library tab

**Ion match tolerance:** Here you can define the mass accuracy you would like to tolerate for the selection of fragment ions from your spectral library. This depends on the instrument type that was used to acquire the library spectra. Lower values help to get a more specific peak assignment of the spectra, but if the instrument did not have this accuracy, Skyline may fail to annotate peaks. The MS/MS spectra used to build the library were acquired on an Orbitrap mass analyser.

* Enter “0.05” *m/z*.

**If a library spectrum is available, pick its most intense ions:** Here you can specify if the library should be used to guide transition selection and how many transitions per precursor should be considered. The default is checked.

**Pick:** Here you can specify the maximum and minimum numbers of product ions you wish to use for transitions. If the spectrum does not contain enough annotated peaks that match your selection criteria, then the peptide precursor will be skipped.

* Enter “10” product ions as the maximum.
* Enter “3” minimum product ions.

Note:In PRM the number of selected transitions does not affect the cycle time because the MS2 data is acquired in full scan mode. Therefore, the information of all the ions is available in the data. You can decide to extract more ions now and later select only the most intense or the ones without interferences. In contrast, in SRM each transition “costs” a certain time (dwell time), and therefore one needs to limit the number of transitions monitored within a method not to exceed a cycle time value that ranges from 1 to 3 seconds. For this reason, in SRM the number of transitions extracted per peptide is often limited to 3-5.

**From filtered...**: Here you can choose which settings from the **Filter** tab you would like to consider for the automatic transition selection.

* Choose **From filtered product ions** to use all the settings applied above.

The **Library** tab should look like this:

Graphical user interface, text, application, email

Description automatically generated

* Click the **Instrument** tab.

## Transition Settings – Instrument tab

**Min m/z** and **Max m/z:** Here you specify the *m/z* range of you instrument or your acquired data.

* Enter “340” to “1200” respectively.

**Dynamic min product m/z:**This function is only useful for chromatograms from LTQ MS2 data. It allows to restrict the product m/z values to being greater than a dynamic minimum, based on the precursor m/z, consistent with the limits the LTQ imposes. Leave the default of unchecked.

**Method match tolerance m/z:**Here you can define the tolerance in *m/z* difference between the theoretical *m/z* calculated by Skyline and the *m/*z given in an imported raw file. Raw files acquired with methods generated with Skyline should have differences less than 0.0001 between Skyline and raw file *m/z* values. However, if other *m/*z calculators have been used for method generation minor *m/*z differences and even mistakes can occur. Leave the default setting of “0.055” *m/z* which accounts for one decimal place of precision in *m/z* specification with some extra for human error in rounding.

**Firmware transition limit:** In case your instrument of choice is an older triple quadrupole with a maximum number of transitions it will accept, you can enter this here. Leave blank.

**Firmware inclusion limit:** In case your instrument of choice is a full scan instrument with a maximum number of precursor *m/z* values it will accept for PRM, you can enter this hear. Leave blank.

**Min time** and **Max time:**Here you can limit the part of the HPLC gradient to extract data from. Leave blank.

The **Instrument** tab should look like this:

Graphical user interface

Description automatically generated

* Click the **Full-Scan** tab.

## Transition Settings – Full-Scan tab

**MS1 filtering:** You are not going to extract MS1 data in this tutorial. Leave the default for **Isotope peaks included** as “None”.

**MS/MS filtering:** Here you specify how the MS/MS spectra in your data were acquired and how to extract chromatograms from these spectra.

* For **Acquisition method** choose “PRM”.
* For **Product mass analyzer** choose “Centroided”. This tells Skyline to use spectra with the instrument vendor centroiding algorithm applied instead of raw profile spectra. You should generally choose this option for Orbitrap spectra.
* For **Mass accuracy** enter “10” ppm. This tells Skyline to include spectrum peaks within +/- 10 ppm of the expected *m/z* values in the extracted ion chromatograms. This value requires high accuracy spectra. Values like 15 or 20 may be safer without sacrificing much in selectivity.

**Retention time filtering:** Here you can choose from several options to limit the part of the HPLC gradient to extract data from. These are most useful when spectra are present across the entire gradient, as with MS1 in DDA, or both MS1 and MS/MS in DIA.

* Choose **Include all matching scans** because you will use retention time scheduling for the PRM acquisition in this tutorial.

The **Full-Scan** tab should look like this:

Graphical user interface

Description automatically generated

* Click the **Ion Mobility** tab.

## Transition Settings – Ion Mobility tab

These settings allow prediction of ion mobility values (compensation voltage for FAIMS, drift time for drift tube or traveling wave IMS, inverse reduced ion mobility – 1/K0 – for TIMS). Leave the default “None” because this tutorial does not use ion mobility.

* Click the **OK** button in the **Transition Settings** form.
* Click the **Next>** button in the **Settings** form.

# Preparing an Instrument Acquisition Method for PRM

After setting up all peptide and transition settings in the Skyline document, you will now generate a precursor list for the PRM measurements and automatically select the best transitions for each peptide based on the information found in a spectral library.

Depending on the level of available information you can directly insert a transition list into Skyline (Edit > Insert > Transition list). If you just know your target proteins and their best representative peptides, you can insert peptide sequences (**Edit** > **Insert** > **Peptides**). Finally, if you only have a number of target proteins, you can insert a protein list (**Edit** > **Insert** > **Proteins**) and Skyline will automatically select peptides and transitions according to your settings.

In this tutorial, you will monitor 19 target proteins, each represented by 1-3 proteotypic peptides (31 peptides in total). The optimal proteotypic peptides have been selected based on previously acquired data.

## Adding targets

Because you chose the **Import Peptide List** to start this tutorial, Skyline should now be showing the **Insert** form with the **Peptide List** tab. To provide the peptide list for this tutorial do the following:

* Navigate to the “PRM-Orbi” folder and open “target\_peptides.csv” in Excel.
* Copy only the sequences in the “Peptide Modified Sequence” column.
* In Skyline press Ctrl-V to paste the peptide sequences into the **Insert** form.

The **Insert** form should now look like this:

Graphical user interface, application, table

Description automatically generated

Skyline has found the peptides in the background proteome and automatically added the corresponding protein information. If you add a peptide sequence which is not unique for a single protein Skyline will ask you how to proceed in these cases.

To insert peptides carrying modifications you can indicate these modifications in the peptide sequences using squared brackets containing the mass difference. For example, peptides carrying carbamidomethylated cysteines are inserted as:

GVDC[+57]QEVSQEK

In this case, it is not strictly necessary because the “Carbamidomethyl (C)” modification applies to all cysteines by default. A plain peptide sequence containing C’s and no modification annotations will have this modification automatically applied.

**Tip!** You can also insert modifications in a particular sequence after the peptides are inserted by selecting the peptide in the **Targets** view, right-click and choose **Modify**.

* Click the **Insert** button.

If all settings are setup correctly, Skyline will automatically insert the 31 target peptides under the correct protein name with selected transitions according to the filter and library definition. If the peptide was identified in the library with charge 2 and 3 both will appear (and each will have a light and heavy form).

In total you should end up with a document containing (see lower right corner):

**19 proteins, 31 peptides, 106 precursors and 896 transitions**

To see all the chosen transitions in the **Targets** view:

* On the **Edit** menu, choose **Expand All** and click **Precursors**.

The **Edit** > **Collapse All**/**Expand All** functions are very useful for quickly changing views for all proteins/peptides/precursors.

**Tip!** Hover with the cursor over the protein/peptide/precursor/transition to get specific information on the respective item.

**Tip!** The numbers in the square brackets behind the peptide sequence indicate the position of the peptide in the protein.

**Tip!** Right-click on protein/peptide/precursor to see several options for refining and/or modifying. If you click **Pick Children** on any level, you can add or remove selected peptides per protein, precursor charge states/isotypes per peptide, and transitions per precursor. Click on the funnel icon to see all options.

**Tip!** For each target peptide you can view the matching MS/MS spectrum of the library in the **Spectrum Match** tab (usually by default visible, if not, try **View** > **Library Match**). To select the ion type that you want to label in the MS2 spectrum right-click on the spectrum and select any additional ion types you are interested in.

* On the **File** menu, click **Save** (Ctrl-S).
* Save the in the “PRM-Orbi” folder as “PRM\_Proteome.sky”.

Your Skyline document should now look like this:

Graphical user interface, application

Description automatically generated

* Select each target peptide and check its automatically chosen transitions in the **Targets** view and the quality of the MS/MS library spectrum in the **Library Match** view.

## Exporting an unscheduled isolation list

To create a PRM acquisition method for your instrument you need to generate a list of precursors to be isolated fragmented. The “isolation list” must include the precursor *m/z*, the precursor charge (z) and a unique name. To generate the list, this tutorial will use a custom-defined report. You will see another example of generating a custom report later. To generate the isolation list, do the following:

* On the **File** menu, choose **Export** and click **Report**.

Skyline presents a form with a list of predefined formats. To define your own new format:

* Click the **Edit List** button.
* Click the **Add** button.

This brings you to the **Edit Report** form. For detailed information on using this form to define your own reports see the [Custom Reports](https://skyline.ms/tutorial_custom_reports.url) tutorial.

* In the **Name** field, enter “PRM\_precursor\_list”.
* In the **Columns** tree on the left expand **Proteins** → **Peptides** → **Precursors** and check the following items:
  + **Modified Sequence**
  + **Precursor Mz**
  + **Precursor Charge**

The **Edit Report** form should look like this:

Graphical user interface, text, application

Description automatically generated

* Click the **Preview** button to check report appears with 106 rows (one for each precursor).
* Close the **Preview** window.
* Click the **OK** button.
* Click the **OK** button in the **Manage Reports** form.
* In the **Report** list, select the name “PRM\_precursor\_list” of the report you just created.
* Click the **Export** button.
* Save the report in the “PRM-Orbi” folder with the name “PRM\_precursor\_list.csv”.

## Exporting a scheduled isolation list

The term “scheduled PRM” refers to a method where the precursors are fragmented only for a short time window around their expected retention time. Using this approach, the number of measurable precursors per run can be greatly increased. The more precisely retention times of peptides can be predicted, the narrower a measurement window can be used, and the more peptides can be measured in a single run without loss of sensitivity.

Here you will learn how to generate a scheduled method using retention time information from previous experiments. You will use the information of the retention time from a previous injection of the target peptides.

To import the run you will use for its retention time information, do the following:

* On the **File** menu, choose **Import** and click **Results**.

The **Import Results** form should appear looking like this:

Graphical user interface, text, application, email

Description automatically generated

* Click the **OK** button.
* In the “PRM-Orbi\Standards” folder, select the “heavy-PRM.mzXML” file.
* Click the **Open** button.

Once the import has completed, you have measurements of targeted peptides with retention times. In peptides with 2 precursors in the library (charge +2 and charge +3), only one of the two precursors has been acquired.

# Conclusion

In this tutorial, you have learned.

# References

1. Stacy D. Sherrod *et al.* Label-Free Quantitation of Protein Modifications by Pseudo-Selected Reaction Monitoring with Internal Reference Peptides. *J. Proteome Res. (submitted)*

2. Schilling, B. *et al.* Platform Independent and Label-Free Quantitation of Proteomic Data Using MS1 Extracted Ion Chromatograms in Skyline. Application to Protein Acetylation and Phosphorylation. *Mol Cell Proteomics* (2012).doi:10.1074/mcp.M112.017707